## Sheet1
HM-2560A SERIAL # LOW RANGE
4.0" DIAMETER SAMPLE | AREA=12.510 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
0.125 | 21.71
0.25 | 43.43
0.5 | 86.87
HM-2560A SERIAL # HIGH RANGE
4.0" DIAMETER SAMPLE | AREA=12.510 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
1 | 173.69
2 | 347.52
4 | 695.06
8 | 1390.14