## Sheet1
HM-2560A SERIAL # LOW RANGE
2.0" DIAMETER SAMPLE | AREA=3.1415 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
0.125 | 5.45
0.25 | 10.9
0.5 | 21.81
1 | 43.63
2 | 87.27
HM-2560A SERIAL # HIGH RANGE
2.0" DIAMETER SAMPLE | AREA=3.1415 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
4 | 174.54
8 | 349.08
16 | 698.16
32 | 1396.33