## Sheet1
HM-2560A SERIAL # LOW RANGE
4.0" SQUARE SAMPLE | AREA=16.000 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
0.125 | 27.78
0.25 | 55.56
0.5 | 111.12
HM-2560A SERIAL # HIGH RANGE
4.0" SQUARE SAMPLE | AREA=16.000 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
1 | 222.24
2 | 444.48
4 | 888.96
8 | 1777.92