## Sheet1
HM-2560A SERIAL # LOW RANGE
3.0" DIAMETER SAMPLE | AREA=7.068 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
0.125 | 12.27
0.25 | 24.54
0.5 | 49.08
1 | 98.13
HM-2560A SERIAL # HIGH RANGE
3.0" DIAMETER SAMPLE | AREA=7.068 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
2 | 196.34
4 | 392.69
8 | 785.39
16 | 1570.78