## Sheet1
HM-2560A SERIAL # LOW RANGE
2.50" SQUARE SAMPLE | AREA=6.25 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
0.125 | 10.8
0.25 | 21.7
0.5 | 43.4
1 | 86.8
HM-2560A SERIAL # HIGH RANGE
2.50" SQUARE SAMPLE | AREA=6.25 in²
Sample Load TSF | Sample Load LBS. | Pressure Readout PSI
2 | 173.6
4 | 347.2
8 | 694.5
16 | 1389